## Slide 1: Lecture 10 Line Broadening; Lasers and Photodetectors;
Read: FQ 4-5; FS3

## Slide 2: This Lecture
Laser (FQ Chap 4.7+)
Spectral line shape/broadening (FQ Chap 4.4-4.5)
To learn more:
(available PU
Lib online)

## Slide 3: Spectral Line shape/width
Homogeneous (Lorentzian, )
Inhomoeneous (Gaussian)
Natural/radiative broadening
& nonradiative/environmental (solid)

## Slide 4: Semiclassical Light-Matter interaction: Einstein Coefficients
(Planck blackbody)
(FQ Ch4/FS App-B)

## Slide 5: Laser “oscillations”
(if no saturation)
(out of equilibraium)
Population Inversion
(pump: R)

## Slide 6: “Lasing” threshold
Stable operation:
(loss)

## Slide 7: Population Inversion for Laser
Can work with?
3 levels?
2 levels?
(higher threshold)

## Slide 8: Laser Mode
Transverse Mode
Longitudinal Mode
directional
“many roundtrips”

## Slide 9
Multimode
Single mode
“mode locked”
(mode locked laser –time domain)
CW
Pulsed (train)

## Slide 10
YAG, Y3Al5O12
Gas
Liquid
Solid
Atom
Molecule
(doped or quantum confined)
insulator/semiconductor
[direct bandgap]

## Slide 11: Doped solid state laser
Ruby--
Cr: Al2O3

## Slide 12: Gas laser

## Slide 13: Diode laser

## Slide 14: Maser
First laser
Hydrogen Maser (hf transition)
A kind of Atomic clock
“astrophysical maser” in nature!
Some common types of masers
Atomic beam masers
  Ammonia maser
  Free electron maser
  Hydrogen maser
Gas masers
  Rubidium maser
Solid state masers
  Ruby maser
  Whispering-gallery modes iron-sapphire maser
Dual noble gas maser

## Slide 15: X-ray laser
(see Lefteri Gouliamakis talk and references)
SLAC

## Slide 16: Photodetectors (experimental & theory)
Critical for quantum optics/photonics
Understand photodetection process: Quantum light or quantum response of photodetectors?
Types of common photodetectors
  Photoconductor & photodiode
  Single photon/counting detector: PMT & APD
Theory of photodetectors
  Semiclassical theory (Poisson)
  Quantum theory
  Shot/quantum noise, fano factor
FS’Chap 3.7; FQ Chap 5.8-5.10
We’ll come back
to PD theory later

## Slide 17: Some Reviews on Photodetectors
Yotter, R.A.; Wilson, D.M. “A Review of Photodetectors for Sensing Light-Emitting Reporters in Biological Systems”, IEEE SENSORS JOURNAL, 3,288, (2003)
Peter Krizan and Samo Korpar, “Photodetectors in Particle Physics Experiments”, Annu. Rev. Nucl. Part. Sci. 2013. 63:329–49
Sochi et al. “Nanowire Photodetectors”, J Nanosci Nanotechnol. 2010 Mar;10(3):1430-49
Books:
G.H.Rieke, Detection of Light (2ed. 2003) --- astro appl.
G. Knoll, ‘Radiation detection and measurements’
Nicholas Tsoulfanidis, ‘MEASUREMENT AND DETECTION OF RADIATION’, 3-ed 2010 [online]
– esp. higher energy radiation/photons

## Slide 18
Yotter, R.A.; Wilson, D.M. “A Review of Photodetectors for Sensing Light-Emitting Reporters in Biological Systems”, IEEE SENSORS JOURNAL, 3,288, (2003)

## Slide 19: Photodetector: photoconductor
Dark current (I0)
Photocurrent I=I-I0
Responsitivity= photocurrent/power
Photoelectric or photothermoelectric?

## Slide 20
photodiode

## Slide 21
http://www.ecse.rpi.edu/~schubert/Light-Emitting-Diodes-dot-org/chap21/F21-04%20Semiconduct%20converter.jpg

## Slide 23
Build-in electric field at the interface between QD layer and graphene due to the balance in Fermi level.
PbS: Electron dopant
G.Konstantatos et al. ‘12

## Slide 24
Graphene Photodetectors and Phototransistors
Graphene Photodetectors
Fast photoresponse
Lower photoresponsivity
Due to “Intrinsic” properties of Graphene
(carriers generated and transported in graphene)
Photoelectric vs photothermoelectric?
Hybrid Graphene-QD Phototransistors
High photoresponsivity
Slow photoresponse
Carriers generated external to graphene but
transferred to /transported by graphene
Advantage of Graphene Phtotodetectors
Room temperature and broadband operation .
High speed
Graphene is flexible, light, and visually transparent.
Operational wavelength can be tuned.
Potential Applications
High-speed optical communications
Terahertz detection
Remote sensing and Spectroscopy
Nature Nano. 7, 363, (2012)
Nature Photonics. 4, 297, (2010)
<number>
Notes: Graphene is a promising material for a variety of optoelectronics applications due to its unique electronic and optical properties. Graphene based photodetector (also known light sensor) have been attracted a lot of attention to the researchers in the recent years . The major advantages of the Graphene photodetector are .. Room T.. Etc.
Different types device architecture been proposed for fabricating graphene photodetectors which can be classify mainly two types . Category 1 where only pure graphene is used for fabricating devices and extrinsic properties of pure graphene is used to get photoresponse from the devices. The types photodetector has shown a very high photoresponse time, however phoresponsivity is very lower.
Type 2 where graphene mixture other materials such as quantum dot is used to get photoresponse from the devices and these The types photodetector has shown a very slow photoresponse time, however phoresponsivity is very high.
These both type of devices are commonly fabricated on the doped silicon along with silicon dioxide which actually separates the graphene from the conducting silicon substrates.
<number>

## Slide 25: (single photon) photodetector
PMT
APD
(eg. MgO)